## Slide 1
AVESTA · EL MO3ALEM JUICE SHOP
Solar + battery: buy it or subscribe?
System purchase payback and an illustrative monthly subscription with no upfront payment
Basis: August 2026 bill · commercial tariff (EgyptERA, April 2026) · no maintenance or interest included
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]

## Slide 2
THE SHOP TODAY
2,421 kWh a month, refrigeration around the clock
2,421
kWh per month 312,070 − 309,649
80.7
kWh per day E = 2,421 ÷ 30
6,867
EGP per month at the official tariff
50%
assumed night share 50% day / 50% night
Receipt: 8,279 EGP. Tariff model: 6,867.22 EGP. The 1,411.78 EGP difference needs the detailed invoice.
Daily use assumes a 30-day billing period. The 50/50 split is an unmeasured scenario.
Monthly kWh | EGP / kWh | Service fee (EGP)
1–100 | 1.62, all units | 5
101–250 | 2.16, all units | 15
251–600 | 2.64, all units | 20
601–1,000 | 2.64 / 2.74* | 25
Above 1,000 | 2.79, all units | 40
Zero use | — | 9
Commercial tariff and monthly bill
Bill = energy + service + 0.03 × kWh
2,421 × 2.79 = 6,754.59
+ 40 + 72.63 = 6,867.22 EGP
*601–1,000: first 600 at 2.64, rest at 2.74.
Consumption stamp: 0.03 EGP/kWh.
Source: EgyptERA, commercial tariff from April 2026. Annual 3 EGP stamp excluded equally from both cases.
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]

## Slide 3
STEP 2 · SIZING
Daily split, solar size and battery size
Daily energy
E = M ÷ 30
80.7 kWh
N = E × 50%
40.35 kWh at night
D = E − N
40.35 kWh in daytime
Solar PV (kWp)
P = (D + min(N, U × η) / η) / Y
rounded up to 0.5 kWp
G = P × Y
daily generation
Y = 4.98 kWh/kWp/day
(PVGIS, slides 10–11).
η = 95% assumed storage efficiency. Without battery: P = D / Y.
Battery (kWh)
C = N ÷ (DoD × η)
40.35 ÷ 0.76 = 53.1 kWh for the whole night
U = C × DoD
Before losses, DoD = 80%.
To loads: U × η = C × 0.76.
B: 16 × 0.8 × 0.95 = 12.16 kWh to loads.
C: 64 kWh installed. Full-night coverage needs enough solar.
η lumps storage-path losses once at the output. Daily energy matching is a screening model, not an hourly dispatch design.
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]

## Slide 4
STEP 3 · OPTIONS
Three systems and their price
Price = (P × 8,000 + Inverter × 6,000) × 1.10 + C × 13,640
 | A · Solar only | B · Solar + LV_16 | C · Solar + 2 × LV_32
Solar PV (P) | 8.5 kWp | 11.0 kWp | 17.0 kWp
Battery (C) | — | 16 kWh | 64 kWh
Inverter = standard size ≥ max(3, P) | 10 kW | 12 kW | 20 kW
Roof area (≈ 6 m² per kWp) | ≈ 51 m² | ≈ 66 m² | ≈ 102 m²
System price (EGP) | 140,800 | 394,240 | 1,154,560
Battery unit price = 220 EUR/kWh × 62 EGP/EUR = 13,640 EGP/kWh
Source: Home_Storage, slide 15. Both 220 EUR and the exchange rate are historical model inputs.
Customer selling-price assumptions. The 10% installation/BOS applies to PV + inverter only.
Inverter ratings are provisional. Roof allowance = 6 m²/kWp. Confirm motor surge, usable roof and supplier prices.
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]

## Slide 5
STEP 4 · NEW BILL
Grid import and savings: 30-day example
Equation | A | B | C
G = P × Y (kWh/day) | 42.33 | 54.78 | 84.66
Direct = min(G, D) (kWh/day) | 40.35 | 40.35 | 40.35
Battery = min((G − Direct) × η, U × η, N) | 0.00 | 12.16 | 40.35
Grid = (E − Direct − Battery) × 30 | 1,210.50 kWh | 845.70 kWh | 0.00 kWh
New monthly bill (EGP) | 3,453.61 | 2,307.59 | 9.00
Monthly saving = 6,867.22 − new bill | 3,413.61 | 4,559.63 | 6,858.22
Y = 4.98 for this example. Solar surplus has no export revenue. Battery charging uses solar only.
C has zero imports in this reference month, but winter imports remain in the monthly PVGIS scenario.
Annual savings below sum all 12 monthly bill reductions, using each month’s solar output and day count.
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]

## Slide 6
SCENARIO 1 · THE SHOP BUYS
Payback = price ÷ annual saving
Payback (years) = System price / sum of the 12 monthly savings
A · Solar only
3.5 yrs
140,800 / 40,537 per year
Average saving: 3,378 EGP/month
B · Solar + LV_16
7.3 yrs
394,240 / 53,709 per year
Average saving: 4,476 EGP/month
C · Solar + 2 × LV_32
14.2 yrs
1,154,560 / 81,091 per year
Average saving: 6,758 EGP/month
Annual scenario: constant 80.7 kWh/day, 50/50 split, monthly PVGIS output and calendar days (365/year).
Battery warranty: 10 years in source. 6,000 / 365 = 16.4 years is cycle-count arithmetic, not a life guarantee.
No tariff increases, degradation, maintenance, replacement, insurance or financing included. Actual load seasonality is unknown.
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]

## Slide 7
SCENARIO 2 · AVESTA PROVIDES IT, THE SHOP SUBSCRIBES
Monthly subscription = price ÷ months
Monthly fee = System price / (Years × 12)
Break-even term (years) = System price / Annual saving
 | Break-even term / avg. saving | 5 years | 8 years | 10 years
A · Solar only | 3.5 yrs / 3,378 | 2,347 (+1,031) | 1,467 (+1,911) | 1,173 (+2,205)
B · Solar + LV_16 | 7.3 yrs / 4,476 | 6,571 (−2,095) | 4,107 (+369) | 3,285 (+1,190)
C · Solar + 2 × LV_32 | 14.2 yrs / 6,758 | 19,243 (−12,485) | 12,027 (−5,269) | 9,621 (−2,864)
EGP/month. Brackets show average annual net benefit / 12 after paying the subscription.
Monthly results vary with solar output. A negative value means an average increase in total spending.
Illustrative recovery of the assumed selling price. No additional subscription margin, maintenance, insurance or financing.
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]

## Slide 8
RECOMMENDATION
Solar pays for itself; the battery buys backup
Option A · Solar 8.5 kWp
Buy: 3.5 years
Subscribe: 1,467 EGP/month for 8 years
Average net saving: 1,911 EGP/month
Option B · Solar 11.0 kWp + LV_16
Buy: 7.3 years
Subscribe: 3,285 EGP/month for 10 years
Average net saving: 1,190 EGP/month
~6.9 h refrigeration backup estimate*
Option C: 14.2-year simple payback and about 102 m² of roof.
*Full battery: 12.16 kWh / (42.4 kWh/day / 24) = 6.88 h. Estimated refrigeration load only.
Night use reduces backup reserve. Backup requires a compatible inverter with islanding support.
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]

## Slide 9
REFERENCE
Assumptions and open points
Item | Value | Source / status
Monthly use | 2,421 kWh | Meter difference. 30-day period assumed
Modeled bill | 6,867.22 EGP | Receipt 8,279 EGP: reconcile the difference
Day / night share | 50% / 50% | Scenario, not a measured hourly profile
PV output | 4.98 kWh/kWp/day | Sizing mean. Monthly PVGIS for finances (10–11)
DoD / efficiency | 80% / 95% | 95% lumped once on delivered storage energy
Price inputs | 13,640 / 8,000 / 6,000 | EGP per battery kWh / PV kWp / inverter kW
Cost exclusions | O&M / finance / degradation | Also no replacement, insurance or escalation
Annual load | 80.7 kWh/day all year | Constant-load scenario. Seasonality unknown
Needed: detailed invoice, actual billing dates, 12 months of consumption, hourly loads, roof survey and motor starting current.
Energy matching assumes all daily solar up to daytime demand can be used directly. Hourly mismatch can lower savings.
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]

## Slide 10
REFERENCE · PVGIS CAIRO
Monthly solar electricity production
Reference system: 1 kWp. A 550 W panel is shown as an illustrative panel size.
Month | Daily / 1 kWp (kWh/day) | Monthly / 1 kWp (kWh/month) | Daily / 550 W panel (kWh/day)
January | 4.24 | 131.30 | 2.33
February | 4.62 | 129.45 | 2.54
March | 5.20 | 161.06 | 2.86
April | 5.36 | 160.86 | 2.95
May | 5.25 | 162.72 | 2.89
June | 5.29 | 158.62 | 2.91
July | 5.31 | 164.66 | 2.92
August | 5.38 | 166.80 | 2.96
September | 5.37 | 161.00 | 2.95
October | 4.98 | 154.53 | 2.74
November | 4.57 | 136.97 | 2.51
December | 4.21 | 130.40 | 2.32
JRC PVGIS 5.3 · SARAH3 / ERA5 (2005–2023) · Cairo 30.0444 N, 31.2357 E · retrieved 30 Sep 2026
South-facing, 30° tilt, crystalline silicon, free-standing, 14% entered system loss; local roof shading not surveyed.
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]

## Slide 11
REFERENCE · AVERAGES AND SETTINGS
How the Cairo average is calculated
Average of the 12 daily monthly values
(4.24 + 4.62 + 5.20 + 5.36 + 5.25 + 5.29 + 5.31 + 5.38 + 5.37 + 4.98 + 4.57 + 4.21) ÷ 12
= 4.9817 ≈ 4.98 kWh/kWp/day
Average monthly output = sum of monthly outputs ÷ 12 = 151.53 kWh/kWp/month
Annual output = 1,818.36 kWh/kWp/year; annual daily average = 1818.36 ÷ 365 ≈ 4.9818
Example: 550 W = 0.55 kWp → average daily output ≈ 0.55 × 4.98 = 2.74 kWh/day
The 1,750 kWh/year estimate is replaced by this sourced reference calculation.
PVGIS electricity output already includes modeled PV losses; battery losses are additional.
These are historical climate averages. Actual output varies by month, weather, shading and cleaning.
Source: European Commission JRC PVGIS 5.3 · inputs and full calculation URL are in speaker notes.
Notes: Sources: EgyptERA commercial tariff from April 2026, https://www.egyptera.org/en/TarrifApril2026.aspx (checked 30 Sep 2026). JRC PVGIS 5.3, https://re.jrc.ec.europa.eu/api/v5_3/PVcalc?lat=30.0444&lon=31.2357&peakpower=1&loss=14&angle=30&aspect=0&pvtechchoice=crystSi&mountingplace=free&outputformat=json . SARAH3/ERA5 2005–2023, Cairo 30.0444N 31.2357E, south-facing 30 degrees, crystalline silicon, free-standing, 14% entered PV loss. Historical modeled output, local shading unmeasured. Home_Storage.pptx slide 15: battery 220 EUR/kWh at assumed 62 EGP/EUR = 13,640 EGP/kWh. Historical model assumptions treated as customer selling prices, not current quotes. Source deck slide 18 states 10-year warranty and 6,000 cycles at 80% DoD.
Method: E=2421/30=80.7 kWh/day (billing period assumed). D=N=40.35. U=C*0.8 before losses. eta=0.95 aggregate storage-path energy factor allocated once at output. Delivered battery=min(solar surplus*eta,U*eta,N). No grid charging, exports have zero value, no reserve held. Required whole-night nameplate=40.35/(.8*.95)=53.092105 kWh. Installed C=64 for the product comparison. PV size rounded up to 0.5 kWp. Inverter sizes preliminary.
Annual scenario: monthly PV daily mean=PVGIS E_m / calendar days, daily consumption held at80.7, non-leap year365days. Treat each month as repeated average days, no hourly dispatch or interday simulation. Baseline bill and newbill evaluated per month at full precision. Rounded displayed inputs may create small rounding differences. All savings exclude the equal annual3EGP stamp, which cancels in the comparison. No finance, maintenance, insurance, degradation, replacement, tariff escalation or added subscription margin.
PVGIS annual API total1818.36kWh vs summed rounded monthly1818.37kWh differs by0.01 due to rounding. Sizing uses requested unweighted mean of12 displayed daily yields4.9816667 rounded4.98. Annual financial calculation uses monthly E_m.
Calculated reference and monthly scenarios (unrounded):
[
{
"option": "A",
"C": 0,
"P": 8.5,
"inv": 10,
"price": 140800,
"reference": {
"G": 42.330000000000005,
"direct": 40.35,
"surplus": 1.980000000000004,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 36.00161290322581,
"direct": 36.00161290322581,
"surplus": 0,
"battery": 0,
"imports": 1385.6499999999999,
"base": 7094.794000000002,
"newbill": 3947.533,
"saving": 3147.261000000002
},
{
"month": "Feb",
"days": 28,
"G": 39.29732142857142,
"direct": 39.29732142857142,
"surplus": 0,
"battery": 0,
"imports": 1159.2750000000003,
"base": 6412.071999999999,
"newbill": 3309.1555000000008,
"saving": 3102.9164999999985
},
{
"month": "Mar",
"days": 31,
"G": 44.1616129032258,
"direct": 40.35,
"surplus": 3.8116129032258,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Apr",
"days": 30,
"G": 45.577,
"direct": 40.35,
"surplus": 5.226999999999997,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "May",
"days": 31,
"G": 44.61677419354839,
"direct": 40.35,
"surplus": 4.266774193548386,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Jun",
"days": 30,
"G": 44.94233333333334,
"direct": 40.35,
"surplus": 4.592333333333336,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Jul",
"days": 31,
"G": 45.148709677419355,
"direct": 40.35,
"surplus": 4.798709677419353,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Aug",
"days": 31,
"G": 45.73548387096774,
"direct": 40.35,
"surplus": 5.3854838709677395,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Sep",
"days": 30,
"G": 45.61666666666666,
"direct": 40.35,
"surplus": 5.266666666666659,
"battery": 0,
"imports": 1210.5,
"base": 6867.22,
"newbill": 3453.61,
"saving": 3413.61
},
{
"month": "Oct",
"days": 31,
"G": 42.37112903225807,
"direct": 40.35,
"surplus": 2.0211290322580666,
"battery": 0,
"imports": 1250.8500000000001,
"base": 7094.794000000002,
"newbill": 3567.397000000001,
"saving": 3527.397000000001
},
{
"month": "Nov",
"days": 30,
"G": 38.80816666666667,
"direct": 38.80816666666667,
"surplus": 0,
"battery": 0,
"imports": 1256.7549999999999,
"base": 6867.22,
"newbill": 3584.0490999999997,
"saving": 3283.1709000000005
},
{
"month": "Dec",
"days": 31,
"G": 35.75483870967742,
"direct": 35.75483870967742,
"surplus": 0,
"battery": 0,
"imports": 1393.3,
"base": 7094.794000000002,
"newbill": 3969.1059999999998,
"saving": 3125.688000000002
}
],
"annualSaving": 40536.85140000001,
"averageSaving": 3378.0709500000007,
"payback": 3.4733827403279767,
"annualImports": 15080.73
},
{
"option": "B",
"C": 16,
"P": 11,
"inv": 12,
"price": 394240,
"reference": {
"G": 54.78,
"direct": 40.35,
"surplus": 14.43,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 46.59032258064517,
"direct": 40.35,
"surplus": 6.24032258064517,
"battery": 5.928306451612912,
"imports": 1067.0724999999998,
"base": 7094.794000000002,
"newbill": 3049.1444499999993,
"saving": 4045.6495500000024
},
{
"month": "Feb",
"days": 28,
"G": 50.85535714285714,
"direct": 40.35,
"surplus": 10.505357142857136,
"battery": 9.980089285714278,
"imports": 850.3575000000003,
"base": 6412.071999999999,
"newbill": 2320.490275000001,
"saving": 4091.581724999998
},
{
"month": "Mar",
"days": 31,
"G": 57.15032258064516,
"direct": 40.35,
"surplus": 16.800322580645158,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Apr",
"days": 30,
"G": 58.982,
"direct": 40.35,
"surplus": 18.631999999999998,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "May",
"days": 31,
"G": 57.73935483870968,
"direct": 40.35,
"surplus": 17.38935483870968,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Jun",
"days": 30,
"G": 58.16066666666667,
"direct": 40.35,
"surplus": 17.81066666666667,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Jul",
"days": 31,
"G": 58.42774193548387,
"direct": 40.35,
"surplus": 18.07774193548387,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Aug",
"days": 31,
"G": 59.18709677419355,
"direct": 40.35,
"surplus": 18.837096774193547,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Sep",
"days": 30,
"G": 59.03333333333333,
"direct": 40.35,
"surplus": 18.68333333333333,
"battery": 12.16,
"imports": 845.7,
"base": 6867.22,
"newbill": 2307.5890000000004,
"saving": 4559.630999999999
},
{
"month": "Oct",
"days": 31,
"G": 54.833225806451615,
"direct": 40.35,
"surplus": 14.483225806451614,
"battery": 12.16,
"imports": 873.89,
"base": 7094.794000000002,
"newbill": 2385.6753,
"saving": 4709.118700000002
},
{
"month": "Nov",
"days": 30,
"G": 50.22233333333334,
"direct": 40.35,
"surplus": 9.872333333333337,
"battery": 9.37871666666667,
"imports": 929.1385,
"base": 6867.22,
"newbill": 2538.7136450000003,
"saving": 4328.5063549999995
},
{
"month": "Dec",
"days": 31,
"G": 46.27096774193549,
"direct": 40.35,
"surplus": 5.920967741935492,
"battery": 5.624919354838717,
"imports": 1076.4774999999997,
"base": 7094.794000000002,
"newbill": 3075.666549999999,
"saving": 4019.1274500000027
}
],
"annualSaving": 53709.35158,
"averageSaving": 4475.779298333334,
"payback": 7.340248735134701,
"annualImports": 10829.596
},
{
"option": "C",
"C": 64,
"P": 17,
"inv": 20,
"price": 1154560,
"reference": {
"G": 84.66000000000001,
"direct": 40.35,
"surplus": 44.31000000000001,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
"monthly": [
{
"month": "Jan",
"days": 31,
"G": 72.00322580645162,
"direct": 40.35,
"surplus": 31.653225806451623,
"battery": 30.07056451612904,
"imports": 318.66249999999985,
"base": 7094.794000000002,
"newbill": 870.8288749999997,
"saving": 6223.965125000002
},
{
"month": "Feb",
"days": 28,
"G": 78.59464285714284,
"direct": 40.35,
"surplus": 38.24464285714284,
"battery": 36.3324107142857,
"imports": 112.49250000000043,
"base": 6412.071999999999,
"newbill": 261.35857500000094,
"saving": 6150.713424999998
},
{
"month": "Mar",
"days": 31,
"G": 88.3232258064516,
"direct": 40.35,
"surplus": 47.9732258064516,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Apr",
"days": 30,
"G": 91.154,
"direct": 40.35,
"surplus": 50.803999999999995,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "May",
"days": 31,
"G": 89.23354838709677,
"direct": 40.35,
"surplus": 48.88354838709677,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Jun",
"days": 30,
"G": 89.88466666666667,
"direct": 40.35,
"surplus": 49.53466666666667,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Jul",
"days": 31,
"G": 90.29741935483871,
"direct": 40.35,
"surplus": 49.94741935483871,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Aug",
"days": 31,
"G": 91.47096774193548,
"direct": 40.35,
"surplus": 51.12096774193548,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Sep",
"days": 30,
"G": 91.23333333333332,
"direct": 40.35,
"surplus": 50.88333333333332,
"battery": 40.35,
"imports": 0,
"base": 6867.22,
"newbill": 9,
"saving": 6858.22
},
{
"month": "Oct",
"days": 31,
"G": 84.74225806451614,
"direct": 40.35,
"surplus": 44.392258064516135,
"battery": 40.35,
"imports": 0,
"base": 7094.794000000002,
"newbill": 9,
"saving": 7085.794000000002
},
{
"month": "Nov",
"days": 30,
"G": 77.61633333333334,
"direct": 40.35,
"surplus": 37.26633333333334,
"battery": 35.40301666666667,
"imports": 148.40949999999987,
"base": 6867.22,
"newbill": 340.01680499999975,
"saving": 6527.203195
},
{
"month": "Dec",
"days": 31,
"G": 71.50967741935484,
"direct": 40.35,
"surplus": 31.159677419354843,
"battery": 29.6016935483871,
"imports": 333.19749999999993,
"base": 7094.794000000002,
"newbill": 909.6373249999998,
"saving": 6185.156675000002
}
],
"annualSaving": 81090.66842000002,
"averageSaving": 6757.555701666668,
"payback": 14.237889790476089,
"annualImports": 912.7620000000002
}
]